## Sheet1
Menus | Problem Describtion | Screenshots
External lab Calibration | 1) Document is not deleting even after clicking on delete icon 2) Recent study is showing under the completed study(Grid screen).Please refer screenshot 3) Unable to view attached document.Showing "Unexpected server response". | Sheet2!A1
Calibration | 2)Multiparameter-Date Received field is empty | Sheet3!A1
Calibration Verification | Issue:On clicking calculate button that import from previous study values has changed & Approved field is empty Steps:Take existing study->Click new->Click on Import values from previous study->Observe Data entry screen->Click on calculate ->Observe screen | Sheet4!A1
Bias | Recent study is showing under the completed study
Gage RR-Variable | Existing stuudy->Received date field is empty
Linearity | Chart showing n number of digits after decimal | Sheet5!A1
MSA Calendar | Getting error ->Please refer screenshot | Sheet6!A1
Gage-Assign Dept | Arrow icon missing ->Please Refer screenshot | Sheet7!A1
Measurement system analysis | Gage type search is not working