## GageType
Type | Gage Type | Description | Remarks | Site
A | Granite Surface Plate | Flat surface1 |  | Parker Hannifin Corporation
V | Height Gage - 0-12" | Length22 |  | Parker Hannifin Corporation
V | Height Gage - 0-24" | Length23666 |  | Parker Hannifin Corporation
A | HV Crimp Die | Fastens wiring connectors |  | Parker Hannifin Corporation
V | HV Crimp Tool | Fastens wiring connectors |  | Parker Hannifin Corporation
V | Hygrometer Datalogger | Measures Degrees |  | Parker Hannifin Corporation
V | Hypot Tester | Insulation tester |  | Parker Hannifin Corporation
V | iFlex Current Probe Loop | Digital |  | Parker Hannifin Corporation
V | Insulation Multimeter | Insulation tester |  | Parker Hannifin Corporation
V | Micro-Ohmmeter | Digital |  | Parker Hannifin Corporation
V | Milliohm Meter | Digital |  | Parker Hannifin Corporation
V | Part Scale | Parts |  | Parker Hannifin Corporation
A | PIN GAGE SET | Feature size |  | Parker Hannifin Corporation
V | Power Supply | Metered Voltage |  | Parker Hannifin Corporation
V | Pressure Gage | Measures PSI |  | Parker Hannifin Corporation
V | Pressure Transducer | Measures PSI |  | Parker Hannifin Corporation
V | Protractor | Measures Angle |  | Parker Hannifin Corporation
A | Radius gage set | Feature size |  | Parker Hannifin Corporation
V | Regenerative Power System | Supplies Power to test |  | Parker Hannifin Corporation
V | RMS Clamp Meter | Digital |  | Parker Hannifin Corporation
V | RMS Thermal Multi-meter | Temperature |  | Parker Hannifin Corporation
V | Scale / Ruler | Length |  | Parker Hannifin Corporation
V | Shipping Scale | Shipping |  | Parker Hannifin Corporation
V | Sound Level Calibrator | Noise testing |  | Parker Hannifin Corporation
V | Sound Level Meter | Noise testing |  | Parker Hannifin Corporation
A | Sphere | CMM Master |  | Parker Hannifin Corporation
V | ST Bench | Torque Calibration Bench |  | Parker Hannifin Corporation
V | Tachometer | Speed of revolution |  | Parker Hannifin Corporation
V | Tape Measure | Length |  | Parker Hannifin Corporation
V | Tape Measure Calibration Master | Length |  | Parker Hannifin Corporation
V | Thermometer | Temperature |  | Parker Hannifin Corporation
A | Thread Plug Gage | Thread Form |  | Parker Hannifin Corporation
V | TORQUE ANALYZER - 30-300 IN/LBS | 30-300 IN/LBS |  | Parker Hannifin Corporation
V | Torque Controlled Screwdriver - 14-70 IN/LBS | 14-70 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 0-75 IN-LBS | 0-75 IN-LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 100-500 FT/LBS | 100-500 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 100-600 IN/LBS | 100-600 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 10-100 FT/LBS | 10-100 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 10-150 FT/LBS | 10-150 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 10-150 IN/LBS | 10-150 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 10-50 FT/LBS | 10-50 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 10-50 IN/LBS | 10-50 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 10-80 FT/LBS | 10-80 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 20-100 FT/LBS | 20-100 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 20-150 IN/LBS | 20-150 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 20-200 IN/LBS | 20-200 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 25-250 IN/LBS | 25-250 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 30-150 IN/LBS | 30-150 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 30-200 IN/LBS | 30-200 IN/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 30-250 FT/LBS | 30-250 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 40-250 FT/LBS | 40-250 FT/LBS |  | Parker Hannifin Corporation
V | Torque Wrench - 7.4-99.9 FT/LBS | 7.4-99.9 FT/LBS |  | Parker Hannifin Corporation
V | Transducerized Torque Tool - 10-50.7 FT/LBS | 10-50.7 FT/LBS |  | Parker Hannifin Corporation
V | Transducerized Torque Tool - 22-109 FT/LBS | 22-109 FT/LBS |  | Parker Hannifin Corporation
V | Transducerized Torque Tool - 3-11 FT/LBS | 3-11 FT/LBS |  | Parker Hannifin Corporation
V | Transducerized Torque Tool - 4.5/22 FT/LBS | 4.5/22 FT/LBS |  | Parker Hannifin Corporation
V | Vehicle Scale | Vehicle Scale |  | Parker Hannifin Corporation
V | Vibration Meter | Movement sensor |  | Parker Hannifin Corporation
V | Waveform Generator | Digital |  | Parker Hannifin Corporation
V | Weather Meter | Temperature |  | Parker Hannifin Corporation
A | Radius gage set1 | Feature size | R1 | Parker Hannifin Corporation
V | Weather Meter1 | Temperature | R2 | Parker Hannifin Corporation

## Gage Type Parameter
Type | Gage Type | Parameter Name | Discrimination | UOM | Range | Site
A | Granite Surface Plate | Environment | 1 | Degrees | 0 to 180 deg. | Parker Hannifin Corporation
V | Height Gage - 0-12" | Length | 0.0025 | Inch | 0-300MM / 0-12 IN | Parker Hannifin Corporation
V | Height Gage - 0-24" | Length | 0.0625 | Inch | 12 Inches | Parker Hannifin Corporation
A | HV Crimp Die | Length | 0.0005 | Inch | 0-600MM / 0-24 IN | Parker Hannifin Corporation
V | HV Crimp Tool | Length | 0.0005 | Inch | 0-6" / 0-150mm | Parker Hannifin Corporation
V | Hygrometer Datalogger | Length | 0.0625 | Inch | 60 Inches | Parker Hannifin Corporation
V | Hypot Tester | Length | 0.1 | Inch | 72 Inches | Parker Hannifin Corporation
V | iFlex Current Probe Loop | Length | 0.0005 | Inch | 0-8" / 0-200mm | Parker Hannifin Corporation
V | Insulation Multimeter | Electrical measure1255- edit | 0.001 | Amps | 400 Amps | Parker Hannifin Corporation
V | Micro-Ohmmeter | Angle | 0.0833 | Degrees | 0 - 90 - 0 | Parker Hannifin Corporation
V | Milliohm Meter | Length | 0 | Inch |  | Parker Hannifin Corporation
V | Part Scale | Paint Thinckness665656 | 1 | µm | Ferrous - 0-2000 / Non-Ferrous - 0-1020 | Parker Hannifin Corporation
A | PIN GAGE SET | Weight | 5 | POUNDS | 13,200 X 5LB | Parker Hannifin Corporation
V | Power Supply | Length | 0.0002 | Inch | 0.03 | Parker Hannifin Corporation
V | Pressure Gage | Torque | 10 | IN-LBS | 120-600 | Parker Hannifin Corporation
V | Pressure Transducer | Torque | 2 | FT-LBS | 20-100 | Parker Hannifin Corporation
V | Protractor | Torque | 0.5 | lbF, ozF, N, gF | 750 lbF | Parker Hannifin Corporation
A | Radius gage set | Length | 5e-05 | Inch | 0-1" / 0-25mm | Parker Hannifin Corporation
V | Regenerative Power System | Electrical measure | 0.001 | VAC/VDC/W/A | 600V, 40MOhms, 10A, 1000 μF | Parker Hannifin Corporation
V | RMS Clamp Meter | Electrical measure | 0 | NA | NA | Parker Hannifin Corporation
V | RMS Thermal Multi-meter | Angle | 0.1 | Degrees | 0 - 360 Deg | Parker Hannifin Corporation
V | Scale / Ruler | Electrical measure | 0 | NA | NA | Parker Hannifin Corporation
V | Shipping Scale | Fluid Flow | 0 | NA | NA | Parker Hannifin Corporation
V | Sound Level Calibrator | Length | 0 | INCH | .050" - 4.000" | Parker Hannifin Corporation
V | Sound Level Meter | Calibration Standard | 0.0002 | MM | D.P. 25.4 | Parker Hannifin Corporation
A | Sphere | Flatness | 0.0002 | Inch |  | Parker Hannifin Corporation
V | ST Bench | Length | 0.0005 | Inch | 0-300mm / 0-12" | Parker Hannifin Corporation
V | Tachometer | Length | 0.0005 | Inch | 0-600mm / 0-24" | Parker Hannifin Corporation
V | Tape Measure | Force | 0 | NA | 360 | Parker Hannifin Corporation
V | Tape Measure Calibration Master | Force | 0 | NA | NA | Parker Hannifin Corporation
V | Thermometer | Environment | 0.1 | °F or °C, %RH, and mBar | 0-65 °C, 0 - 95%RH, 500-1300 mBar | Parker Hannifin Corporation
A | Thread Plug Gage | Electrical measure | 0 | kVA / mADC | 6 kVA @ 7.5 mADC | Parker Hannifin Corporation
V | TORQUE ANALYZER - 30-300 IN/LBS | Electrical measure | 0.1 | A, Hz, dB | 2500A, 500 Hz, 40dB | Parker Hannifin Corporation
V | Torque Controlled Screwdriver - 14-70 IN/LBS | Electrical measure | 0.001 | VAC/VDC/W/A | 1000V, 400mA, 50 MΩ, 10,000 μF | Parker Hannifin Corporation
V | Torque Wrench - 0-75 IN-LBS | Electrical measure | 1 | Ω-mΩ/A-ꙡA | 6000Ω-60mΩ 100ꙡA-10A | Parker Hannifin Corporation
V | Torque Wrench - 100-500 FT/LBS | Length | 0.5 | Inch/MM | 660X700X400MM | Parker Hannifin Corporation
V | Torque Wrench - 100-600 IN/LBS | Electrical measure | 0.001 | Ohms | 20mΩ-20kΩ | Parker Hannifin Corporation
V | Torque Wrench - 10-100 FT/LBS | Weight | 0.1 | Pound |  | Parker Hannifin Corporation
V | Torque Wrench - 10-150 FT/LBS | Length | 0.01 | MM | 1.30MM - 20.98 MM | Parker Hannifin Corporation
V | Torque Wrench - 10-150 IN/LBS | Electrical measure | 0 | Watts/V/A | 300W/30V/ 30A | Parker Hannifin Corporation
V | Torque Wrench - 10-50 FT/LBS | Pressure | 0 | PSI | -14 - 10K | Parker Hannifin Corporation
V | Torque Wrench - 10-50 IN/LBS | Pressure | 0 | PSIG | 0 - 300 | Parker Hannifin Corporation
V | Torque Wrench - 10-80 FT/LBS | Angle | 1 | Degrees | 0-180 | Parker Hannifin Corporation
V | Torque Wrench - 20-100 FT/LBS | Length | 0 | INCH | .010-.500 | Parker Hannifin Corporation
V | Torque Wrench - 20-150 IN/LBS | Electrical measure | 0 | 950V, 20A, 10KW | NA | Parker Hannifin Corporation
V | Torque Wrench - 20-200 IN/LBS | Electrical measure | 0 | VAC/VDC/Ω/A | 600V | Parker Hannifin Corporation
V | Torque Wrench - 25-250 IN/LBS | Environment | 0.1 | °F, % Humidity, Meters | 140°F, 90%, 2000m | Parker Hannifin Corporation
V | Torque Wrench - 30-150 IN/LBS | Length | 0.0625 | Inch |  | Parker Hannifin Corporation
V | Torque Wrench - 30-200 IN/LBS | Weight | 1 | Pound | 10000 LB | Parker Hannifin Corporation
V | Torque Wrench - 30-250 FT/LBS | Volume | 0 | NA | NA | Parker Hannifin Corporation
V | Torque Wrench - 40-250 FT/LBS | Volume | 0 | NA | NA | Parker Hannifin Corporation
V | Torque Wrench - 7.4-99.9 FT/LBS | Calibration Standard | 5e-06 | Inch | 10MM | Parker Hannifin Corporation
V | Transducerized Torque Tool - 10-50.7 FT/LBS | Torque | 0 | IN/LBS, FT/LBS | NA | Parker Hannifin Corporation
V | Transducerized Torque Tool - 22-109 FT/LBS | Speed | 0.1 | RPM | 0 - 100K | Parker Hannifin Corporation
V | Transducerized Torque Tool - 3-11 FT/LBS | Length | 0.125 | inch |  | Parker Hannifin Corporation
V | Transducerized Torque Tool - 4.5/22 FT/LBS | Calibration Standard | 0 | Inch/MM | 6 Inches | Parker Hannifin Corporation
V | Vehicle Scale | Environment | 0.1 | Degrees | NA | Parker Hannifin Corporation
V | Vibration Meter | Thread Form | 0 | MM |  | Parker Hannifin Corporation
V | Waveform Generator | Torque | 0.01 | IN/LBS | 30 - 300 IN/LBS | Parker Hannifin Corporation
V | Weather Meter | Torque | 1 | IN/LBS | 14 - 70 | Parker Hannifin Corporation
V | Torque Wrench - 0-75 IN-LBS | Torque | 1 | IN-LBS | 0-75 IN-LBS | Parker Hannifin Corporation
V | Torque Wrench - 100-500 FT/LBS | Torque | 5 | FT/LBS | 100 - 500 | Parker Hannifin Corporation
V | Torque Wrench - 100-600 IN/LBS | Torque | 10 | IN/LBS | 100 - 600 | Parker Hannifin Corporation
V | Torque Wrench - 10-100 FT/LBS | Torque | 0.5 | FT/LBS | 10-100 | Parker Hannifin Corporation
V | Torque Wrench - 10-150 FT/LBS | Torque | 1 | FT/LBS | 10-150 | Parker Hannifin Corporation
V | Torque Wrench - 10-50 FT/LBS | Torque | 1 | FT/LBS | 10 - 50 | Parker Hannifin Corporation
V | Torque Wrench - 10-50 IN/LBS | Torque | 0.5 | IN-LBS | 10-50 in-lbs | Parker Hannifin Corporation
V | Torque Wrench - 10-80 FT/LBS | Torque | 1 | FT/LBS | 10 - 80 | Parker Hannifin Corporation
V | Torque Wrench - 20-100 FT/LBS | Torque | 2 | FT/LBS | 20 - 100 | Parker Hannifin Corporation
V | Torque Wrench - 10-150 IN/LBS | Torque | 1 | IN/LBS | 10-150 | Parker Hannifin Corporation
V | Torque Wrench - 20-150 IN/LBS | Torque | 1 | IN/LBS | 20-150 | Parker Hannifin Corporation
V | Torque Wrench - 20-200 IN/LBS | Torque | 1 | IN/LBS | 20 - 200 | Parker Hannifin Corporation
V | Torque Wrench - 25-250 IN/LBS | Torque | 1 | IN-LBS | 25-250 IN-LBS | Parker Hannifin Corporation
V | Torque Wrench - 30-150 IN/LBS | Torque | 1 | IN/LBS | 30-150 | Parker Hannifin Corporation
V | Torque Wrench - 30-200 IN/LBS | Torque | 1 | IN/LBS | 30 - 200 | Parker Hannifin Corporation
V | Torque Wrench - 30-250 FT/LBS | Torque | 1 | FT-LBS | 30-250 FT-LBS | Parker Hannifin Corporation
V | Torque Wrench - 40-250 FT/LBS | Torque | 5 | FT/LBS | 40 - 250 | Parker Hannifin Corporation
V | Torque Wrench - 7.4-99.9 FT/LBS | Torque | 1 | FT/LBS | 7.4 - 99.9 | Parker Hannifin Corporation
V | Transducerized Torque Tool - 10-50.7 FT/LBS | Torque | 0.5 | FT/LBS & Nm | 10-50.7 FT/LBS (120-608.4 INCH /LBS) | Parker Hannifin Corporation
V | Transducerized Torque Tool - 22-109 FT/LBS | Torque | 0.5 | FT/LBS & Nm | 22-109 FT/LBS | Parker Hannifin Corporation
V | Transducerized Torque Tool - 3-11 FT/LBS | Torque | 0.5 | FT/LBS & Nm | 3-11 FT/LBS (36-132 IN/LBS) | Parker Hannifin Corporation
V | Transducerized Torque Tool - 4.5/22 FT/LBS | Torque | 0.5 | FT/LBS & Nm | 4.5-22 FT/LBS (54-264 IN/LBS) | Parker Hannifin Corporation
V | Vehicle Scale | Weight | 5 | Pound | 13000 x 5 LBS | Parker Hannifin Corporation
V | Vibration Meter | Vibration | 1 | Ft/Sec Squared | 2 to 656 Ft/Sec squared | Parker Hannifin Corporation
V | Waveform Generator | Electrical measure | 0 | NA | NA | Parker Hannifin Corporation
V | Weather Meter | Environment | 0.1 | m/s, RH, C, hPA | 0.6 to 40 m/s | Parker Hannifin Corporation
A | Radius gage set1 | L1 |  |  |  | Parker Hannifin Corporation
A | Radius gage set1 | L2 |  |  |  | Parker Hannifin Corporation
V | Weather Meter1 | M1 | 0 | NA | NA | Parker Hannifin Corporation
V | Weather Meter1 | M2 | 0.025 | NA | NA | Parker Hannifin Corporation