|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | |  | | --- | | **Inspection and receiving record of measuring tools** | | |  |
|  |  |  |  |
|  | |  | | --- | | **Subros Limited** | |  |  |
|  | |  | | --- | | **B-188, Phase-2, Noida.** | |  |  |
|  |  |  |  |
|  | |  | | --- | | **Ph+91 9560580909** | |  |  |
|  |  |  |  |
|  | |  | | --- | | **Fax0120-2562227** | |  |  |
|  | |  | | --- | | **http://www.subros.com** | |  |  |
|  |  |  |  |
| |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | **S.No** | **Gage No** | **Gage Type** | **Scope of Application** | **Department** | **Factory Number** | **Manufacturer** | **Date of receipt** | **Manual card number for repair** | **Name of Applicant** | **Contact number** | **SCC Status** | **Delivery time for external inspection** | **Return date of measuring tools** | **Laboratory** | | 1 | 005 | CMM |  | Surface table 1 | N/A | FT | 05/24/2021 | 135 | 135 | 07022920101 | Stock | 05/24/2021 | 05/24/2021 | AA CALIBRATION PVT.LTD. | | 2 | 5004 | \*\*\*\*\*\*\*\*\*\*GAUGE FOR DELETING | N/A | 10P08 C.B. LINE | CT56 | CTTI | 05/25/2021 | 78 | 78 | 07022920101 | Stock | 05/24/2021 | 05/16/2021 | India Instruments pvt | | 3 | 2704 | CMM |  | Surface table 1 | TML54 | TUV | 05/25/2021 | 789 | Susan | 222587899 | Stock | 05/25/2021 | 05/25/2021 | AA CALIBRATION PVT.LTD. | | 4 | CB020 | PLUNGER DIAL GAUGE |  | 10P08 C.B. LINE | 10P08 | MITUTOYO | 05/25/2021 | 123 | David Maro | 80562704894 | Stock | 05/25/2020 | 05/25/2021 | AA CALIBRATION PVT.LTD. | | 5 | CB020 | PLUNGER DIAL GAUGE |  | 10P08 C.B. LINE | 10P08 | MITUTOYO | 05/25/2021 | p90 | Brutus | 6541237889 | Stock | 05/19/2021 | 05/20/2021 | ABS Americas | | 6 | CB020 | PLUNGER DIAL GAUGE |  | 10P08 C.B. LINE | 10P08 | MITUTOYO | 05/25/2021 | R89 | Ruban | 789456123 | Stock | 05/25/2021 | 05/25/2021 | AA CALIBRATION PVT.LTD. | | 7 | Handover | BEVEL PROTECTOR | measurement systems analysis is a thorough assessment of a measurement process, and typically includes a specially designed experiment that seeks to identify the components of variation in that measurement process............................................. | FINAL | RTS45 | TUV | 05/25/2021 | 9092 | Siya | 9994223357 | Stock | 05/25/2021 | 05/25/2021 | DVC LABORATORIES & CONSULTANTS PVT.LTD | | 8 | CB138 |  | N/A | 10P08 C.B. LINE | DIG. MICROMETER 25-50MM | MITUTOYO | 05/27/2021 | 5697 | Samuel | 89465623 | Stock | 05/27/2021 | 05/27/2021 | AA CALIBRATION PVT.LTD. | | 9 | CB020 | PLUNGER DIAL GAUGE |  | 10P08 C.B. LINE | 10P08 | MITUTOYO | 05/27/2021 | test | test | test | In use | 05/27/2021 | 05/27/2021 |  | | 10 | CB151 | HEIGHT GAUGE( 0-300 mm ) |  | SURFACE TABLE 2 | 03012770 | MITUTOYO | 05/27/2021 | 4566 | Samuel | 07022920101 | In use | 05/27/2021 | 05/27/2021 |  | | 11 | R10 | \*\*\*\*\*\*\*\*\*\*GAUGE FOR DELETING |  | 10P08 C.B. LINE | AIR GAUGE UNIT | IN HOUSE | 05/31/2021 | 123 | Samuel | 07022920101 | Stock | 05/31/2021 | 05/31/2021 | AA CALIBRATION PVT.LTD. | | 12 | R11 | \*\*\*\*\*\*\*\*\*\*GAUGE FOR DELETING |  | 10P08 C.B. LINE | AIR GAUGE UNIT | IN HOUSE | 05/31/2021 | 65 | Samuel | 07022920101 | Stock | 05/31/2021 | 05/31/2021 | AA CALIBRATION PVT.LTD. | | 13 | R12 | \*\*\*\*\*\*\*\*\*\*GAUGE FOR DELETING |  | 10P08 C.B. LINE | AIR GAUGE UNIT | IN HOUSE | 05/31/2021 | 232 | Samuel | 249989312 | Stock | 05/31/2021 | 05/31/2021 | AA CALIBRATION PVT.LTD. | | 14 | Master1 |  |  | 10P08 C.B. LINE | MN89 | (0-25)MM | 05/31/2021 | 45661 | Samuel | 1212454845 | Stock | 05/31/2021 | 05/31/2021 | ABS Americas | | 15 | R10 | \*\*\*\*\*\*\*\*\*\*GAUGE FOR DELETING |  | 10P08 C.B. LINE | AIR GAUGE UNIT | IN HOUSE | 06/01/2021 | 123445 | Richard | 07022920101 | Stock | 06/01/2021 | 06/01/2021 | AA CALIBRATION PVT.LTD. | | 16 | 0001/0002@ABCDEF1245678 | CMM |  | Surface table 1 | TML54 | TUV | 06/01/2021 | l;87878 | Samuel | 07022920101 | Stock | 06/01/2021 | 06/01/2021 | ABS Americas | | 17 | Master\_Handover |  | Calibration is a comparison between a known measurement (the standard) and the measurement using your instrument. Typically, the accuracy of the standard should be ten times the accuracy of the measuring device being tested. However, an accuracy ratio of 3:1 is acceptable by most standards organizations. | COMP ASSY. | 5427 | VPT | 06/01/2021 | QA159@ | Manczur | 44224561311 | In use | 06/01/2021 | 06/01/2021 | AA CALIBRATION PVT.LTD. | | 18 | DIGITAL TORQUE METER |  |  | STANDRARD ROOM | KTM150 | KILEWS JAPAN | 01/01/2021 | 2132 | Susan | 44224561311 | Stock |  |  |  | | 19 | Mstr 048 |  |  | 10P08 CB LINE | AIR GAUGE UNIT | ABSOLUTE | 06/01/2021 | 23121 | Ruban | 44224561311 | Backup | 01/01/2021 | 12/31/2021 | AA CALIBRATION PVT.LTD. | | |  |  |  |  |  | | --- | --- | --- | --- | --- | | **Certificate return date** | **Certificate Number** | **Get Manual card number** | **Get back Name** | **Date of getting back** | | 05/25/2021 | V9092P | bb | RND | 05/03/2021 | | 06/30/2021 | T9092P | 123 | David | 05/25/2021 | | 05/26/2021 | 1997 | kjk | vnbn | 05/23/2021 | | 05/26/2021 | SA1234T6 | 245 | Victor | 05/25/2021 | | 05/21/2021 | V9092P | 7851 | John | 05/31/2021 | | 06/30/2021 | SA1234T6 | 7895566 | Mia | 05/24/2022 | | 05/09/2012 | 5427 | 123 | David | 05/25/2021 | | 05/28/2021 | SA1234T6 | 122221212121212 | Samuel morris | 05/29/2021 | |  |  |  |  |  | |  |  |  |  |  | | 05/22/2021 | V9092P | 659 | susan | 05/31/2021 | | 05/31/2021 | 52269 | 4545 | Peter | 06/01/2021 | | 05/29/2021 | V9092P |  |  |  | | 05/31/2021 | 1997 | 123232 | SIYA | 05/29/2021 | | 06/30/2021 | V9092P | 98745 | John | 06/01/2021 | | 07/31/2021 | 1996TP | 5646 | Wiiliam | 08/31/2021 | | 06/30/2021 | 012456789012346678901234567890123456789@asdfghj |  |  |  | |  |  |  |  |  | | 01/01/2022 | 012456789012346678901234567890123456789@asdfghj |  |  |  | | | | | | |
|  |  |  |  |